TECHNICAL FEATURES CEL-1387
3-section examination table.
Folding armrests.
Backrest adjustable to +75° via 2 gas springs, leg area to 90° via manual joint.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling leg. (NOT suitable for transporting people).
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 1850, width 600, width with armrests 848 mm.
Height adjustable (635 to 945 mm).
Recommended maximum supported weight: 170 kg.
Weight of the table: 56 kg.
HEIGHT ADJUSTMENT: via electric motor with hand control.
Structure warranty 5 years, motor 2 years.