TECHNICAL FEATURES CEL-1388
3-section examination table.
Articulated, rotating, and height-adjustable blood draw arms.
Backrest adjustable to +75° via gas spring, leg area to -90° via manual joint.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 levelers.
Paper roll holder and head cushion.
APPROXIMATE DIMENSIONS:
Length 1850, width 600, width with arms 777 mm.
Height adjustable (540 to 850 mm).
Recommended maximum supported weight: 170 kg.
Weight of the table: 56 kg.
HEIGHT ADJUSTMENT: via electric motor with hand control.
Structure warranty 5 years, motor 2 years.