TECHNICAL FEATURES CEL-1655 AND CEL-1656 ELECTRIC
3-section examination table.
CEL-1655 without face hole and plug.
CEL-1656 with face hole.
Backrest adjustable to +76.5° and -5° via gas spring.
Leg area adjustable to +23° and -55.5° via ratchet hinge.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling leg. (NOT suitable for transporting people).
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 1930 mm, width 601 mm.
Height adjustable (480 to 1050 mm).
Recommended maximum supported weight: 170 kg.
Weight of the table: 70 kg.
HEIGHT ADJUSTMENT: via electric motor with foot control.