TECHNICAL FEATURES CEL-1676
3-section examination table.
2 backrests adjustable to +75°, leg area to +25° via lever system.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling leg. (NOT suitable for transporting people).
Articulated, rotating, and height-adjustable leg supports.
Paper roll holder.
Stainless steel drawer for waste.
APPROXIMATE DIMENSIONS:
Length 1966 mm, width 651 mm, width with leg supports 1070 mm.
Height adjustable (480 to 1050 mm) via electric motor with foot control.
Recommended maximum supported weight: 170 kg.
Weight of the table: 61 kg.