TECHNICAL FEATURES CEL-1682.2, CEL-1683.2 AND CHI-1684.2, CHI-1686.2
Two-section table.
CEL-1682.2 and CHI-1684.2 with facial opening and plug.
CEL-1683.2 and CHI-1686.2 without facial opening.
Backrest adjustable to +70° via gas spring.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling leg. (NOT suitable for transporting people).
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 2200 mm, width 705 mm.
HEIGHT ADJUSTMENT:
CEL-1682.2 AND CEL-1683.2 (600 to 860 mm) via electric motor with foot control.
CHI-1684.2 AND CHI-1686.2 (605 to 865 mm) via hydraulic pump.
Recommended maximum supported weight: 170 kg.
Weight of the table: 64 kg.
Structure warranty 5 years, motor and hydraulic pump 2 years.