TECHNICAL FEATURES CFI-1600, 1605, 1635, 1636
Two sections.
CFI-1605, CFI-1636 with facial opening and plug.
CFI-1600, CFI-1635 without facial opening.
Backrest adjustable to +45° via rod.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
APPROXIMATE DIMENSIONS:
Length 1850 mm, width 600 mm.
CFI-1635, CFI-1636 fixed height, 750 mm.
CFI-1600, CFI-1605 fixed height, 600 mm.
Recommended maximum supported weight: 130 kg.
Weight of the table: 24 kg.
Supplied with detachable legs.
Structure warranty 5 years.