TECHNICAL FEATURES CFI-1638, 1637, 1612, 1611
Two sections.
CFI-1638, CFI-1612 with facial opening and plug.
CFI-1637, CFI-1611 without facial opening.
Backrest adjustable to +45° via rod.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: stainless steel tube.
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 1850 mm, width 600 mm.
CFI-1638, CFI-1637 fixed height, 750 mm.
CFI-1612, CFI-1611 fixed height, 600 mm.
Recommended maximum supported weight: 130 kg.
Weight of the table: 24 kg.
Structure warranty 5 years.