
[image: image3.jpg]-l

I





TECHNICAL FEATURES CFI-1661 AND CFI-1663
Two-section couch.

CFI-1661 without facial hole.
CFI-1663 with hole and facial plug.

Roll holder

Backrest adjustment to +50º via two zipper hinges.

UPHOLSTERY: wood fiber board covered with 50 mm foam, 30 kg density, covered with fire-retardant, antibacterial synthetic leather.

STRUCTURE: made of high-quality beech wood, varnished in natural color.
Reinforced with frame and tray.

DIMENSIONS AND WEIGHT:
Couch dimensions 1867 x 601 mm.
Fixed height 750 mm.
Net weight: 55.8 kg
Maximum advisable supported weight: 130 kg.

Structure warranty 5 year

[image: image2.jpg]C€




[image: image1.png]RCH

MOBILIARIO

X X )





