TECHNICAL FEATURES CFI-1670
Three-section couch.
Backrest adjustable to +70-10º, leg area to -90º via mechanical articulation.
Articulated, rotating, and height-adjustable leg supports.
UPHOLSTERY: wood fiber board covered with 50 mm foam, 30 kg density, covered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: Epoxy-finished steel tube.
Roll holder.
APPROXIMATE DIMENSIONS:
Length 1596, width 495 mm.
Fixed height 820 mm.
Couch weight: 36 kg.
Maximum advisable supported weight: 130 kg.
Structure warranty 5 years.