TECHNICAL FEATURES CFI-5005
Bobath platform.
One-section.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fireproof, antibacterial synthetic leather.
STRUCTURE: epoxy-finished steel tube.
APPROXIMATE DIMENSIONS:
Length 2000, width 1500, height 500 mm.
Maximum advisable supported weight: 270 kg.
Weight of the couch: 76 kg.
Structure warranty 5 years.