TECHNICAL FEATURES CFI-R-1725 AND CFI-R-1726
Two-section transfer couch.
Backrest adjustable via manual system.
Mattress base in phenolic compact.
Mattress length 190, width 60, height 100 mm.
Mattress color blue.
4 wheels with a diameter of 100 mm, 2 of them with brake.
IV pole, laundry basket, oxygen bottle holder.
CFI-R-1725 Structure and folding guardrails in polished AISI 304 steel tube.
CFI-R-1726 Structure and folding guardrails in epoxy-painted steel tube.
APPROXIMATE DIMENSIONS:
Length 2120, width 720, height 780, height with mattress 880 mm.
Net weight: 50 kg.
Maximum advisable supported weight: 150 kg.
Couch warranty 5 years.