TECHNICAL FEATURES CFI-R-1790.B
One-section transfer couch.
Adjustable headrest via gas spring.
Mattress base in phenolic compact.
Mattress length 190, width 60, height 100 mm.
Mattress color blue.
Folding guardrails in stainless steel tube.
4 wheels with a diameter of 150 mm, with brake system on 1 wheel.
Adjustable IV pole, laundry basket, oxygen bottle holder.
STRUCTURE: Epoxy-painted steel tube.
APPROXIMATE DIMENSIONS:
Length 2040, width 755, height with mattress 850 mm.
Net weight 81 kg.
Maximum advisable supported weight: 170 kg.
Couch warranty 5 years.