TECHNICAL FEATURES CHI-1790
One-section transfer couch.
Mattress length 1900, width 600, height 100 mm.
Mattress color blue.
Guardrails in epoxy-painted steel tube.
4 wheels with a diameter of 150 mm, with directional wheel.
IV pole, clothing holder, oxygen bottle holder.
STRUCTURE: epoxy-painted steel tube.
APPROXIMATE DIMENSIONS:
Length 2040, width 600, width with guardrails 738 mm.
Adjustable height (640 to 1125 mm).
Net weight 95 kg.
Maximum advisable supported weight 170 kg.
HEIGHT ADJUSTMENT: via hydraulic pump.
Couch warranty 5 years, hydraulic pump 2 years.