TECHNICAL FEATURES WASH CART CHI-1795
One-section bath couch.
Headrest of 500x200x100 mm.
Drain for water drainage with 3º inclination.
Trendelenburg and anti-Trendelenburg activated by gas springs located in the head area.
STRUCTURE: epoxy-finished steel tube.
4 wheels with a diameter of 125 mm, 2 of them with brakes.
Wheel fixation in stainless steel.
APPROXIMATE DIMENSIONS:
Exterior: Length 1890, width 740 mm.
Interior bed dimensions 1795 x 600 mm.
Adjustable height (410 to 830 mm).
Maximum advisable supported weight: 170 kg.
Weight of the couch: 73 kg.
HEIGHT ADJUSTMENT: via hydraulic pump operated by pedals located on both sides.
Structure warranty 5 years, hydraulic pump 2 years.