TECHNICAL FEATURES CEL-1385, CEL-1386 ELECTRIC

3-section examination table.
CEL-1385 without Trendelenburg.
CEL-1386 with Trendelenburg via gas spring and backrest at -30°.
Backrest adjustable to +75° via 2 gas springs, leg area to -90° via mechanical rod system.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
Base with 4 levelers.
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 1850, width 600, width with armrests 854 mm.
Height adjustable (540 to 850 mm).
Recommended maximum supported weight: 170 kg.
Weight of the table: 57 kg.
HEIGHT ADJUSTMENT: via electric motor with foot control.
Structure warranty 5 years, motor 2 years.