TECHNICAL FEATURES CEL-1685
One-section table.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-coated steel tube.
APPROXIMATE DIMENSIONS:
Length 2000 mm, width 1500 mm.
Height adjustable (455 to 915 mm).
HEIGHT ADJUSTMENT: via electric motor with foot control.
Recommended maximum supported weight: 170 kg.
Weight of the table: 127 kg.
Structure warranty 5 years, motor 2 years.