TECHNICAL FEATURES CHI-1657 AND CHI-1658 HYDRAULIC
3-section table.
CEL-1657 without face hole and plug.
CEL-1658 with face hole.
Backrest adjustable to +76.5 and -5º, leg area to +23 and -55.5º by gas spring.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, coated with fire-resistant, antibacterial faux leather.
STRUCTURE: steel tube with epoxy finish.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling foot. (NOT suitable for transporting people).
Paper roll holder.
APPROXIMATE DIMENSIONS:
Length 193 width 601 mm.
Height adjustable (48 to 105 mm).
Maximum recommended weight capacity: 170 kg.
Table weight: 70 kg.
HEIGHT ADJUSTMENT: by hydraulic pump.
Structure warranty 5 years, hydraulic pump 2 years.