TECHNICAL SPECIFICATIONS CHI-1673.A.4124
Three-section examination table.
Backrest adjustable to +75º using gas springs, leg area to -90º with ratchet system.
UPHOLSTERY: Wood fiber board covered with 50 mm foam, density 30 kg, coated with fireproof and antibacterial faux leather.
STRUCTURE: Steel tube with epoxy finish.
Paper roll holder.
Rotating and height-adjustable armrests.
Rotating and height-adjustable leg supports.
Stainless steel drawer for waste.
Base with 4 retractable wheels of 75 mm diameter, with locking system and 1 leveling foot. (NOT suitable for transporting people).
APPROXIMATE DIMENSIONS:
Length 1850 mm, width 600 mm, width with leg supports 1025 mm.
Height adjustable (635 to 945 mm) via hydraulic pump.
Recommended maximum supported weight: 170 kg.
Table weight: 66 kg.
Structure warranty 5 years, hydraulic pump 2 years.