TECHNICAL FEATURES CHI-1684.1 AND CHI-1686.1
Two-section couch.
CHI-1684.1 with facial hole and plug.
CHI-1686.1 without facial hole.
Backrest adjustable to +70º via gas spring.
UPHOLSTERY: wood fiber board covered with 50 mm foam, 30 kg density, covered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: epoxy-finished steel tube.
Base with 4 retractable wheels of 75 mm in diameter, with locking system and 1 leveling leg. (NOT suitable for patient transport).
Roll holder.
APPROXIMATE DIMENSIONS:
Length 1933, width 680 mm.
HEIGHT ADJUSTMENT: (680 to 840 mm.) via hydraulic pump.
Maximum advisable supported weight: 170 kg.
Weight of the couch: 63 kg.
Structure warranty 5 years, hydraulic pump 2 years.