TECHNICAL FEATURES SIL-1360
Three-section chair.
Backrest adjustable from +7 to 75º, leg section to -90º, via gas springs.
Handle on the backrest for pushing the chair.
Chrome-plated, height-adjustable armrests, with injected polyurethane support.
UPHOLSTERY: wood fiber board covered with foam, 50 mm height in the center and 70 mm on the sides, 30 kg density, coated with flame-retardant, antibacterial faux leather.
STRUCTURE: epoxy-coated steel tube.
Base on 4 plastic wheels with a diameter of 125 mm, with brakes, one of them directional.
APPROXIMATE DIMENSIONS:
Length 1688 mm, width 564 mm, width with armrests 664 mm.
Seat height 461 mm.
Armrest height from 500 to 720 mm.
Maximum recommended weight capacity: 150 kg.
Chair weight: 33 kg.
Structure warranty: 5 years.