TECHNICAL SPECIFICATIONS SIL-1365
Three-section chair.

Backrest adjustment to + 90º using gas springs.
Foldable armrests, support made of injected polyurethane.
Handle on the backrest to push the chair.
UPHOLSTERY: wood fiber board covered with 100 mm foam, density of 27 kg, coated with fireproof and antibacterial faux leather.
STRUCTURE: steel tube with epoxy finish.
Base on 4 plastic wheels with a diameter of 125 mm, 1 directional.
APPROXIMATE DIMENSIONS:
Height 1002 mm, width 564 mm, width with armrests 646 mm.
Seat height 564 mm.
Armrest height 715 mm.
Recommended maximum supported weight: 150 kg.
Chair weight: 37 kg.
Structure warranty 5 years.