TECHNICAL FEATURES CAM-6004 AND CAM-6004.A.3054
Pediatric bed with 4 sections, 3 of which are articulated via an electric motor operated with a handheld control.
Steel mesh bed surface.
CAM-6004 with electric Trendelenburg and Anti-Trendelenburg function, from 0º to 12º.
CAM-6004.A.3054 WITHOUT electric Trendelenburg and Anti-Trendelenburg function.
Rails adjustable to 3 levels: low, medium, and high position, with a spring-loaded button.
Height adjustable via electric motor with handheld control.
Basket for clothes and personal belongings of the patient.
Base with 4 plastic wheels of 100 mm, 2 with brakes.
4 protective bumpers at the 4 corners of the bed heads.
Removable headboards.
STRUCTURE: Epoxy-coated steel tube.
APPROXIMATE DIMENSIONS:
Exterior 1750 x 761 mm / Interior 1600 x 600
Height adjustable (590 to 825 mm) straight lift, without lateral displacement.
Maximum recommended weight: 100 kg.
Bed weight: 90 kg.
Warranty: structure 5 years, motor 2 years.