
[image: image3.jpg]



TECHNICAL FEATURES CFI-1660 AND CFI-1662
Two-section table.
CFI-1660 without facial opening.
CFI-1662 with facial opening and plug.
Backrest adjustable to +50° via two ratchet hinges.
UPHOLSTERY: wood fiber board covered with 50 mm foam, density 30 kg, upholstered with fire-retardant, antibacterial synthetic leather.
STRUCTURE: made from high-quality beech wood, varnished in natural color.
Paper roll holder.
DIMENSIONS AND WEIGHT:
Table dimensions: 1867 x 601 mm.
Fixed height: 750 mm.
Net weight: 33 kg.
Recommended maximum supported weight: 130 kg.
Structure warranty 5 years. 
[image: image2.jpg]C€




[image: image1.png]RCH

MOBILIARIO

X X )





