[image: image2.jpg]




TECHNICAL SPECIFICATIONS SIL-1359
Three-section chair.

Backrest adjustment up to +75°, leg area up to -90°, via mechanical articulation.

UPHOLSTERY: fiberboard covered with 70 mm foam, 30 kg density, coated with fire-retardant, antibacterial faux leather.

STRUCTURE: epoxy-coated steel tube.

APPROXIMATE DIMENSIONS:
Length 1570 mm, width 592 mm.
Seat height 480 mm.
Armrest height 700 mm.
Recommended maximum weight: 120 kg.
Chair weight: 16 kg.

Structure warranty: 5 years.

[image: image1.png]RCH

MOBILIARIO

X X )





[image: image2.jpg]