TECHNICAL FEATURES CAM-6043.1071.S / CAM-6043.1071.CB
6043.1071.S Without headboards or rails
6043.1071.CB. With headboards and foldable rails
4 articulated planes in 3 parts with motor and manual control.
Bed with beech slats.
STRUCTURE: Steel tube with epoxy finish.

4 fixed-height legs 455 mm, made of steel with epoxy finish.

APPROXIMATE MEASUREMENTS: Length 1900 mm, width 900 mm, height 500 mm.
Back section 595 x 790 mm. Fixed section 400 x 790 mm.
Leg section 390 x 790 mm. Foot section 415 x 790 mm.
Backrest adjustable from 0° to 70°, leg section from 0° to 15°.

Recommended maximum weight: 135 kg. Net weight: 45 kg.

ELECTRICAL PARAMETERS:
Power supply: 230 V, +/-10 %, 50-60 Hz. Operating voltage: 24 V DC.
Noise level: <65 dB. Protection against water and dust IP66/IP4.
Electric motor operation: 10 %, max. 2 minutes/18 minutes.

Warranty: structure 5 years, motor 2 years.