TECHNICAL FEATURES CAM-6069-CB
4 articulated planes divided into 3 parts via motor with handheld control.
2 headboards.
Folding side rails.
Beech slatted bed surface.
STRUCTURE: Epoxy-coated steel tube.
Base with 4 wheels of 100 mm diameter, two with brakes.
APPROXIMATE DIMENSIONS: Length 1900, width 900 mm.
Backrest section 595 x 790 mm.
Fixed section 400 x 790 mm.
Leg section 390 x 790 mm.
Foot section 415 x 790 mm.
Backrest adjustable from 0º to 70º, leg section from 0º to 15º.
Height adjustable (410 to 800 mm) straight lift without lateral displacement, via electric motor with handheld control.
Maximum recommended weight: 135 kg.
ELECTRICAL PARAMETERS:
Power supply: 230 V, +/-10 %, 50-60 Hz. / Operating voltage: 24 V DC.
Noise level: < 65 dB. Protection against water and dust IP66/IP4.
Electric motor operation: 10 %, max. 2 minutes / 18 min.
ACCESSORIES NOT INCLUDED: IV pole and suspension column.
Warranty: structure 5 years, motor 2 years.