TECHNICAL FEATURES OF STOOL T-1410.D/T-1410.B
Swivel stool.
Round seat 360 mm, made of wood fiberboard covered with 50 mm foam and 30 kg density.
Height and length adjustable backrest, made of injected plastic with ergonomic shape, covered with 25 kg density foam, upholstered with fire-resistant, antibacterial faux leather.
Polished aluminum base with 5 spokes and wheels.
Height adjustment via chrome gas column.
Minimum height 615 mm – maximum height 855 mm.
T-1410.B black-painted gas column and black nylon base.

2-year warranty.