TECHNICAL SPECIFICATIONS FIS-5015

Articulated mobile mirror.

360° rotation with locking mechanism at any angle.

Epoxy-coated steel frame.

Varnished beech wood mirror support frame, dimensions 1510 x 655 x 30 mm.

Mirror with 140 x 140 mm grid; mirror dimensions 1430 x 575 mm.

Overall dimensions 1692 x 835 mm.

Base with four 0.75 mm casters, two with brakes.

Net weight 15 kg.